STATE OF THE ART OF UNBOUND CEFTRIAXONE AS A PHARMACODYNAMIC TOOL: ARE WE READY FOR ITS IMPLEMENTATION IN CLINICAL PRACTICE?

Johnny MICHELa, Francesco MONTIb, Fabien LAMOUREUXc, Interne 1c, Interne 2c, Manuel ETIENNEd, Muriel QUILLARDe, Fabienne TAMIONf, Sandrine DAHYOTg, Tania PETERSENc*, Tony PEREIRAc, Martine PESTEL-CARONg, Julien GROSJEANb,h, Thomas DUFLOTi#

aEmergency Department, CHU Rouen, Rouen F-76000 France.

bDepartment of Digital Health, CHU Rouen, Rouen F-76000 France.

cDepartment of Pharmacology, CHU Rouen, Rouen F-76000 France.

dUniv Rouen Normandie, Univ Caen Normandie, INSERM, Normandie Univ, DYNAMICURE UMR 1311, CHU Rouen, Department of infectious diseases, F-76000 Rouen, France.

eDepartment of Biochemistry, CHU Rouen, Rouen F-76000, France.

fDepartment of Medical Intensive Care Unit, CHU Rouen, Rouen F-76000 France.

gUniv Rouen Normandie, Univ Caen Normandie, INSERM, Normandie Univ, DYNAMICURE UMR 1311, CHU Rouen, Department of Bacteriology, F-76000 Rouen, France

hLaboratoire d'Informatique Médicale et d'Ingénierie des Connaissances en e-Santé (LIMICS), U1142, INSERM, Sorbonne Université, Paris, France.

iUniv Rouen Normandie, INSERM, Normandie Univ, EnVI UMR1096, CHU Rouen, Department of Pharmacology, F-76000 Rouen, France.

# Corresponding author: Dr Thomas Duflot

Email: thomas.duflot@chu-rouen.fr Phone: +33(2)32883731 Fax: +33(2)32889094

*Present address: Tania Petersen, Department of Bacteriology, AP-HP Hôpital Universitaire Pitié Salpêtrière

Running head: Unbound ceftriaxone in clinical practice

SUPPLEMENTARY MATERIALS

- Supplementary Material 1: Total (CEFt) and unbound (CEFu) quantitation

- Supplementary Table S1 : Comparison of between-model absolute and percentage error using ANOVA followed by Tukey Honest Significant Differences tests

- Supplementary Figure S1: Bland-Altman plots for signed differences and relative differences for the 9 models

Total (CEFt) and unbound (CEFu) quantitation

Briefly, 50 µL of serum (CEFt) or filtrate (CEFu) was mixed with 100 µL of methanol  spiked with internal standard [13C,2H3]-Ceftriaxone (5 µg/mL). After centrifugation at 13 200 x g for 5 minutes, 100 µL of supernatant were collected for analysis. The chromatographic system consisted in a Prominence Shimadzu UFLC system (Shimadzu®, Prominence, Kyoto, Japan) in combination with a 4500QTRAP tandem mass spectrometer equipped with an electrospray ionization source operating in positive ion mode (Sciex®, Toronto, Canada). Quantitation was performed using the following precursor ion to product ion transitions: ceftriaxone m/z 554.8→395.8 / 554.8→323.8 (quantitation/qualification) and [13C,2H3]-Ceftriaxone m/z 558.8→399.9. Chromatographic separation was performed on an Alltima HP C18 HL analytical column (3 μm particle size, 150 mm length × 3 mm inner diameter; VWR international®). The auto-sampler temperature was set at 8°C, the column oven at 30°C, the injected volume was 1 μL. The mobile phase consisted in 0.2% formic acid in pure Methanol (solvent A) and 2 mM ammonium formate with 0.2% formic acid in water (solvent B). The flow rate was 600 µL/min and the following elution gradient was performed: 70% B (0–0.1 min), 70–0% B (0.1–1.5 min), 0% B (1.5–3.5 min), 0-70% B (3.5–3.6 min), and 70% B (3.6–5.5 min). Calibration curves ranged from 1 to 20 µg/mL for serum ceftriaxone quantitation. Samples above the upper limit of quantification were 20-fold diluted in ceftriaxone-free serum. Chromatographic data acquisition and processing were performed using the Analyst v1.6.3 software (AB Sciex®). The analytical procedure used in this study met international analytical requirements according to ISO 15189, EMA and FDA guidelines on bioanalytical method validation [1,2]. The lower limit of quantification of the method was 1 µg/mL, the accuracy ranged from 85 to 115% and the intraday and interday precision were lower than 15%.

[1] EMA Guideline on Bioanalytical Method Validation. 2011.

[2] FDA Guidance for Industry Bioanalytical Method Validation. 2001.

Supplementary Table S1 : Comparison of between-model absolute and percentage error using ANOVA followed by Tukey Honest Significant Differences tests

| Difference | Lower CI | Upper CI | Adjusted P-value | Error Type | Comparison |
| --- | --- | --- | --- | --- | --- |
| 13.69 | 5.24 | 22.15 | 2.19e-05 | Signed Error | Dreesen-Bos |
| 15.80 | 7.35 | 24.26 | 3.56e-07 | Signed Error | Gijsen-Bos |
| 24.95 | 16.50 | 33.41 | 4.10e-10 | Signed Error | Gregoire-Bos |
| 18.45 | 10.00 | 26.91 | 1.41e-09 | Signed Error | Hartmann-Bos |
| 21.53 | 13.08 | 29.98 | 4.11e-10 | Signed Error | Heffernan-Bos |
| 9.56 | 1.10 | 18.01 | 1.37e-02 | Signed Error | Leegwater-Bos |
| -10.46 | -18.92 | -2.01 | 4.09e-03 | Signed Error | Standing-Bos |
| 2.39 | -6.07 | 10.84 | 9.94e-01 | Signed Error | Ulldemolins-Bos |
| 2.11 | -6.34 | 10.56 | 9.97e-01 | Signed Error | Gijsen-Dreesen |
| 11.26 | 2.81 | 19.72 | 1.28e-03 | Signed Error | Gregoire-Dreesen |
| 4.76 | -3.69 | 13.22 | 7.12e-01 | Signed Error | Hartmann-Dreesen |
| 7.84 | -0.62 | 16.29 | 9.40e-02 | Signed Error | Heffernan-Dreesen |
| -4.13 | -12.59 | 4.32 | 8.45e-01 | Signed Error | Leegwater-Dreesen |
| -24.16 | -32.61 | -15.70 | 4.10e-10 | Signed Error | Standing-Dreesen |
| -11.30 | -19.76 | -2.85 | 1.20e-03 | Signed Error | Ulldemolins-Dreesen |
| 9.15 | 0.70 | 17.60 | 2.26e-02 | Signed Error | Gregoire-Gijsen |
| 2.65 | -5.80 | 11.10 | 9.88e-01 | Signed Error | Hartmann-Gijsen |
| 5.73 | -2.73 | 14.18 | 4.68e-01 | Signed Error | Heffernan-Gijsen |
| -6.24 | -14.70 | 2.21 | 3.44e-01 | Signed Error | Leegwater-Gijsen |
| -26.27 | -34.72 | -17.81 | 4.10e-10 | Signed Error | Standing-Gijsen |
| -13.41 | -21.87 | -4.96 | 3.61e-05 | Signed Error | Ulldemolins-Gijsen |
| -6.50 | -14.95 | 1.95 | 2.89e-01 | Signed Error | Hartmann-Gregoire |
| -3.42 | -11.88 | 5.03 | 9.42e-01 | Signed Error | Heffernan-Gregoire |
| -15.40 | -23.85 | -6.94 | 8.20e-07 | Signed Error | Leegwater-Gregoire |
| -35.42 | -43.87 | -26.96 | 4.10e-10 | Signed Error | Standing-Gregoire |
| -22.57 | -31.02 | -14.11 | 4.10e-10 | Signed Error | Ulldemolins-Gregoire |
| 3.08 | -5.38 | 11.53 | 9.69e-01 | Signed Error | Heffernan-Hartmann |
| -8.90 | -17.35 | -0.44 | 3.05e-02 | Signed Error | Leegwater-Hartmann |
| -28.92 | -37.37 | -20.46 | 4.10e-10 | Signed Error | Standing-Hartmann |
| -16.07 | -24.52 | -7.61 | 2.06e-07 | Signed Error | Ulldemolins-Hartmann |
| -11.97 | -20.43 | -3.52 | 4.22e-04 | Signed Error | Leegwater-Heffernan |
| -31.99 | -40.45 | -23.54 | 4.10e-10 | Signed Error | Standing-Heffernan |
| -19.14 | -27.60 | -10.69 | 6.03e-10 | Signed Error | Ulldemolins-Heffernan |
| -20.02 | -28.48 | -11.57 | 4.32e-10 | Signed Error | Standing-Leegwater |
| -7.17 | -15.62 | 1.28 | 1.72e-01 | Signed Error | Ulldemolins-Leegwater |
| 12.85 | 4.40 | 21.31 | 9.71e-05 | Signed Error | Ulldemolins-Standing |
| 54.42 | 2.34 | 106.50 | 3.28e-02 | Percentage Error | Dreesen-Bos |
| 72.70 | 20.62 | 124.78 | 5.54e-04 | Percentage Error | Gijsen-Bos |
| 142.10 | 90.02 | 194.18 | 4.10e-10 | Percentage Error | Gregoire-Bos |
| 88.89 | 36.81 | 140.97 | 5.50e-06 | Percentage Error | Hartmann-Bos |
| 125.36 | 73.28 | 177.45 | 4.20e-10 | Percentage Error | Heffernan-Bos |
| 51.61 | -0.47 | 103.69 | 5.43e-02 | Percentage Error | Leegwater-Bos |
| -144.27 | -196.35 | -92.19 | 4.10e-10 | Percentage Error | Standing-Bos |
| -95.14 | -147.22 | -43.06 | 7.43e-07 | Percentage Error | Ulldemolins-Bos |
| 18.29 | -33.79 | 70.37 | 9.75e-01 | Percentage Error | Gijsen-Dreesen |
| 87.68 | 35.60 | 139.77 | 7.99e-06 | Percentage Error | Gregoire-Dreesen |
| 34.47 | -17.61 | 86.56 | 5.01e-01 | Percentage Error | Hartmann-Dreesen |
| 70.95 | 18.87 | 123.03 | 8.66e-04 | Percentage Error | Heffernan-Dreesen |
| -2.81 | -54.89 | 49.27 | 1.00e+00 | Percentage Error | Leegwater-Dreesen |
| -198.69 | -250.77 | -146.61 | 4.10e-10 | Percentage Error | Standing-Dreesen |
| -149.56 | -201.64 | -97.48 | 4.10e-10 | Percentage Error | Ulldemolins-Dreesen |
| 69.40 | 17.32 | 121.48 | 1.27e-03 | Percentage Error | Gregoire-Gijsen |
| 16.19 | -35.89 | 68.27 | 9.89e-01 | Percentage Error | Hartmann-Gijsen |
| 52.66 | 0.58 | 104.74 | 4.51e-02 | Percentage Error | Heffernan-Gijsen |
| -21.10 | -73.18 | 30.98 | 9.42e-01 | Percentage Error | Leegwater-Gijsen |
| -216.97 | -269.06 | -164.89 | 4.10e-10 | Percentage Error | Standing-Gijsen |
| -167.85 | -219.93 | -115.77 | 4.10e-10 | Percentage Error | Ulldemolins-Gijsen |
| -53.21 | -105.29 | -1.13 | 4.09e-02 | Percentage Error | Hartmann-Gregoire |
| -16.74 | -68.82 | 35.34 | 9.86e-01 | Percentage Error | Heffernan-Gregoire |
| -90.50 | -142.58 | -38.41 | 3.33e-06 | Percentage Error | Leegwater-Gregoire |
| -286.37 | -338.45 | -234.29 | 4.10e-10 | Percentage Error | Standing-Gregoire |
| -237.25 | -289.33 | -185.16 | 4.10e-10 | Percentage Error | Ulldemolins-Gregoire |
| 36.47 | -15.61 | 88.55 | 4.20e-01 | Percentage Error | Heffernan-Hartmann |
| -37.29 | -89.37 | 14.80 | 3.88e-01 | Percentage Error | Leegwater-Hartmann |
| -233.16 | -285.24 | -181.08 | 4.10e-10 | Percentage Error | Standing-Hartmann |
| -184.04 | -236.12 | -131.95 | 4.10e-10 | Percentage Error | Ulldemolins-Hartmann |
| -73.76 | -125.84 | -21.68 | 4.21e-04 | Percentage Error | Leegwater-Heffernan |
| -269.64 | -321.72 | -217.55 | 4.10e-10 | Percentage Error | Standing-Heffernan |
| -220.51 | -272.59 | -168.43 | 4.10e-10 | Percentage Error | Ulldemolins-Heffernan |
| -195.88 | -247.96 | -143.80 | 4.10e-10 | Percentage Error | Standing-Leegwater |
| -146.75 | -198.83 | -94.67 | 4.10e-10 | Percentage Error | Ulldemolins-Leegwater |
| 49.13 | -2.95 | 101.21 | 8.22e-02 | Percentage Error | Ulldemolins-Standing |

Supplementary Figure S1: Bland-Altman plots for signed differences and relative differences for the 9 models